# Strain and Stress:

Measurement and Analysis

 a 

dL / L

 (L2

 L1) / L1

 L / L

##### a = axial strain

L1 = linear dimension or gage length

L2 = final strained linear dimension

D1

D2

L1

L2 – L1

L2

E   a

 a

##### E = Young’s modulus

a = uniaxial stress

    L

 a

#####  = Poisson’s ratio

L = lateral strain

 x

 x 

 y

E

 y

 y 

 x

### E

y

y

 x

 y

E

E

	 E( x  y )		 E( y  x )

x	1 2	y	1 2

# Strain Measurement

Extensometer Optical Mechanical

Electrical strain gage Resistive – the most common Capacitive

#### Inductive Photoelectric

# Electrical Resistance Strain Gage

## 1856 Lord Kelvin demonstrated that the resistances of copper wire and iron wire change when the wires are subjected to mechanical strain

#### He used a Wheatstone bridge circuit with a galvanometer as the indicator

## The first resistance strain gage is made by Carlson in 1931

#### Pillars were mounted, separated by the gage length, with wires stretched between them

The first bonded strain gage was used by Bloach

It consisted of a carbon film resistance element applied directly to the surface of the strained member

## 1938 Ruge of M.I.T. conceived the idea of making a preassembly by mounting wire between thin pieces of paper

##### Construction of bonded-wire-type strain gage

# Foil-Type Gage

## During the 1950s the foil-type gage replaced the the wire gage

The common form consists of a metal foil element on a thin epoxy support

#### Manufactured using printed-circuit techniques

Major advantage – almost unlimited pane configurations are possible

##### Typical foil-type gages illustrating the following types: (a) single element, (b) two-element rosette, (c) three-element rosette, (d) one example of many different special purpose gages

www.jntuworld.com || www.android.jntuworld.com || www.jwjobs.net || www.android.jwjobs.net

The gage factor

R  L

A

 L

CD2

F  dR / R

 dR / R

 1 2

 d / 

dL / L

 a

 	1	R

### F	R

dL / L

##### The values of F and R are supplied by the gage manufacturer, and the user determines R corresponding to the input situation being measured.

# Selection and Installation Factors

for Bonded Metallic Strain Gages

## Grid material and configuration Backing material

Bonding material and method Gage protection

Associated electrical circuitry

# Desirable	Properties	of	Grid

Material

## High gage factor, F

High sensitivity, 

Low temperature sensitivity High electrical stability High yield strength

High endurance limit

## Good workability

Good solderability or weldability Low hysteresis

Low thermal emf when joined to other materials

Good corrosion resistance

# Temperature Sensitivity

## In many applications, compensation is provided in the electrical circuitry – this does not always eliminate the problem

Two factors are involved:

#### The differential expansion existing between the grid support and the grid proper, resulting	in a strain that the gage is unable to distinguish from load strain

The change in resistivity  with temperature change

# Thermal emf Effect

## Thermal emf superimposed on gage output must be avoided if dc circuitry is used

For ac circuitry this factor would be of little importance

# Common Grid Materials

## Constantan*; Copel*	45% Ni, 55% Cu

Isoelastic*	36% Ni, 8% Cr, 0.5% Mo, Fe remainder

##### *Trade names

# Common	Backing	Materials

## Thin paper

Phenolic-impregnated paper Epoxy-type plastic films Epoxy-impregnated fiberglass

Most foil gages use an epoxy film backing

# Protecting the Strain Gage

## The strain gages must be protected from ambient conditions:

#### Mechanical abuse, moisture, oil, dust and dirt

Protection material:

Petroleum waxes, silicone resins, epoxy preparations, rubberized brushing compounds

# Temperature Compensation

#### The adjacent-arm compensating gage – bridge circuitry

Self-temperature compensation

##### Selected-melt gage

- Through proper manipulation of alloy and processing, grid materials may be prepared to show very low apparent strain versus temperature change

Dual-element gage

- Use two wire elements connected in series in one gage assembly

- The two elements have different temperature characteristics and are selected so that the net temperature-induced strain is minimized

# Strain-Measuring Systems

## Basic strain indicator, useful for static: single-channel readings

Single-channel system either external to or an integral part of a cathode-ray oscilloscope

Oscillographic systems incorporating either a stylus-and-paper or lightbeam and phtographic paper readout

## Data acquisition systems:

#### Displayed (digitally and/or by a video terminal) Recorded (magnetic tape or hard-copy printout) Fed back into the system for control purpose

# Stress-Strain Relationships

## Simple uniaxial stress situation Biaxial stress situation

##### Stress-strain relations for Rosette gages (T 12.4)

# Gage Orientation and

Interpretation of Results

# Gages Connected in Series

##### Load cell employing three series-connected axial gages and three series-connected Poisson-ratio gages

# Measurement of Force

## Mechanical weighing systems

#### Balance, multiple-lever system, pendulum force-measuring mechanism

Elastic transducers

Proving ring

Strain-gage load cells Piezoelectric-type load cells Hydraulic and pneumatic systems

# Proving Ring

Compression-tywpwwe.jnptuwroorldv.cionmg|| wrwiwn.jwgjobws.neitth vibrating reed

## Deflection is used as the measure of applied load, with the deflection measured by means of a precision micrometer

# Strain-Gage Load Cells

## Measures load in terms of unit strain

One of the possible forms of elastic member is selected, and the gages are mounted to provide maximum output

##### Tension-compression resistance strain-gage load cell

(a) The bridge output is a function of the bending strains only, the axial components being canceled in the bridge arrangement

(b) Greater sensitivity may be obtained because the output includes both the bending and the axial components sensed by gages 1 and 4

Two arrangements of circular-shaped load cells employing resistance strain gages as secondary transducers

# Hydraulic Load Cell

##### Section through a hydraulic load cell

##### Section through a pneumatic load cell

##### Section through a diaphragm showing how a change in effective area may take place.

- When sufficient “roll” is provided, the effective area remains constant

# Pneumatic Load Cell

## Use air rather than liquid as the pressurized medium

Use diaphragms of a flexible material rather than pistons

## Designed to regulate the balancing pressure automatically

#### Air pressure is supplied to one side of the diaphragm and allowed to escape through a position-controlling bleed valve

The pressure under the diaphragm is controlled both by source pressure and bleed valve position

The diaphragm seeks the position that will result in just the proper air pressure to support the load

# Measurement of Pressure

## Absolute pressure Gage pressure Vacuum

# Pressure-Measuring Transducers

## Gravitational types

#### Liquid columns

Pistons or loose diaphragm, and weights

Direct-acting elastic types Unsymmetrically loaded tubes Symmetrically loaded tubes Elastic diaphragms

#### Bellows

Bulk compression

Direct-acting elastic type, a piston with elastic restraining member

# Elastic Diaphragms

## Use elastic diaphragm as primary pressure transducer

Flat type –

#### Used in conjunction with electrical secondary transducers whose sensitivity permits quite small diaphragm deflections

Corrugated type is particularly useful when larger deflections are required

##### (a) Flat diaphragm (b) Corrugated diaphragm

# Diaphragm	Design	Requirements

## Dimensions and total load must be compatible with physical properties of the material used

Flexibility must be such as to provide the sensitivity required by the secondary transducer

Volume of displacement should be minimized to provide reasonable dynamic response

## Diaphragm displacement may be transmitted by mechanical means to some form of indicators

For engineering measurements, diaphragm motion is sensed by some form of electrical secondary transducer

#### Resistive, capacitive, inductive, or piezoelectric

## Natural frequency of the diaphragm should be sufficiently high to provide satisfactory frequency response

Output should be linear

# Flat Metal Diaphragm

## Deflection of flat metal diaphragm is limited either by stress requirements or deviation from linearity

As a general rule the maximum deflection that can be tolerated maintaining a linear pressure-displacement relation is about 30% of the diaphragm thickness

# Secondary Transducers Used

with Diaphragms

## Resistance strain gages with flat diaphragms Inductive types

Piezoelectric-type pressure cells

# Resistance Strain Gages

##### Location of strain gages on flat diaphragm

The central gage is subjected to tension while the outer gage senses compression

Apply strain gage directly to a diaphragm surface and calibrate the measured strain in terms of pressure

Drawback – the small physical area available for mounting the gages

# Inductive Types

##### Differential pressure cell with inductance- type secondary transducer

Flexing the diaphragm due to applied pressure causes it to move toward on pole piece and away from the other 

Altering the relative inductances

Standard laboratory equipment, such as an oscilloscope or electronic voltmeter, as well as recorders, may be used to display the gage output

# Cylindrical-Type Pressure Cell

# Measurement of Motion

## Displacement Velocity Acceleration Jerk

# Human Touch

#### In spite of the tremendous advances made in vibration-measuring instrumentation, one of the most sensitive vibration detectors is the human touch

Fingertips – sinusoidal vibrations having amplitudes as low as 12  in

Vibrating member tightly gripped – average minimum detectable amplitude was only slightly greater than 1  in

Greatest sensitivity occurred at a frequency of about 300 Hz

##### Seismic type of motion-measuring instrument

##### Typical piezoelectric-type accelerometer designs

# Advantages of Piezoelectric-

Type Accelerometers

## High sensitivity Extreme compactness Ruggedness