## Slide 1: INTER LINE UNIFIED POWER QUALITY CONDITIONER
PENDLI AGAIAH
SUMAN DONTHARABOINA

## Slide 2: ABSRACT
To improve the power quality of two feeders in a distribution system.

## Slide 3: INTRODUCTION
It is a new connection for a Unified Power Quality Conditioner (UPQC) .
The device (IUPQC) is connected between two feeders coming from different substations.
It is used for improving the power quality.

## Slide 4: FACTORS AFFECTING POWER QUALITY
Harmonics
Voltage Notching
Voltage Sag
Voltage Swell
Voltage Flicker
Transients

## Slide 5: SINGLE LINE DIAGRAM OF IUPQC

## Slide 6: COMPLETE STRUCTURE OF IUPQC

## Slide 7: TYPICAL IUPQC CONNECTED IN DISTRIBUTION SYSTEM

## Slide 8: SHUNT CONNECTED VSC

## Slide 9: SERIES CONNECTED VSC

## Slide 10
SYSTEM RESPONSE WITH OUT IUPQC
Vabc_31,kv(voltage at third bus on feeder-1)

## Slide 11
Iabc_21,A(current at second bus on feeder-1)

## Slide 12: SYSTEM RESPONSE WITH IUPQC
Vabc_31,kv(voltage at third bus on feeder-1)

## Slide 13
Iabc_21,A(current at second bus on feeder-1)

## Slide 14
Vsc 1a(voltage across the feedback capacitor)

## Slide 15: CONCLUSION
IUPQC is able to protect the distribution system from various disturbances occurring either in Feeder.
The sensitive load is fully protected against sag/swell and interruption.
With the presence of IUPQC the performance of the system is improved.

## Slide 16: THANKQ

## Slide 17
Notes: <number>